## Slide 1
Nine Spring Valley Interceptor – Mineral Point Extension:
Pipe Investigation
Commission Meeting
July 25, 2024

## Slide 2
Agenda Location Map
Staff introduction
Location
Investigation
Action Items
Questions
To Verona
To Fitchburg / Madison
Pipe investigation location

## Slide 3
Collection System Map
To Verona
To Fitchburg / Madison
Pipe investigation location
Flow to PS 12
Flow from PS 17
NSVI
BMC Effluent Line
PS 17 Relief
PS 17 relief is in active construction project

## Slide 4
Investigation
Photo: Friday 7/12/2024
Reason for Investigation – Collapse of grade over existing pipe adjacent to new manhole installed during PS 17 FMR P2 construction project.

## Slide 5
Investigation
Photo: Friday 7/19/2024
Televising of Pipe 04:09 am
Top of Pipe, inside
Joint Failure
Top of Pipe, inside
Top of Pipe, outside
Findings – Joint failure of pipe
Looking downstream from MH12-401 to MH12-107.

## Slide 6
Action items Completed
Televising investigations
Contractor obtaining by-pass flow equipment
Daily flow monitoring and surface observations
Daily updates

## Slide 7
Action items in process
Install by-pass pumping system
Perform further pipe investigation beyond known failure
Perform joint / pipe section replacement
Clean and inspect pipe
Restoration
Photo: Tuesday 7/23/2024
By-pass pump
Photo: Tuesday 7/23/2024
By-pass pipe preparation

## Slide 8
Questions?